## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superinteding Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: Estimate for Electrical installation,illuminations and wiring wor for ground & Mezzanine Floor Structure for CoE in Machine Tools Design center IIT(BHU)
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell pointwith 1.5 sq.mm FRLS PVC insulated copper conductor singlecore cable in surface / recessed medium class PVC conduit,with modular switch, modular plate, suitable GI box and earthingthe point with 1.5 sq.mm FRLS PVC insulated copper conductorsingle core cable etc. as required. Group C | BI01010001010000000000000515BI0100001113 | 140 | Points | 990 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 138600 | 138600 | INR One Lakh Thirty Eight Thousand Six Hundred Only | 1 | Trenching in ordinary soil up to a depth of 60 cm including removal andstacking of serviceable materials and then disposing of surplus soil, byspreading and neatly levelling within a lead of 50 m and making up thetrenched area to proper levels by filling with earth or earth mixed withsludge or / and manure before and after flooding trench with water (excludingcost of imported earth, sludge or manure). (2.1) | BI01010001010000000000000515BI0100001113 | 1446 | Cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001114 | 120 | Mtrs | 167 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20040 | 20040 | INR Twenty Thousand &Forty Only | 2 | Supplying and stacking of good earth at site including royalty and carriage upto 5 km lead complete (earth measured in stacks will be reduced by 20% for payment). (2.2) | BI01010001010000000000000515BI0100001114 | 482 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001115 | 275 | Mtrs | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55000 | 55000 | INR Fifty Five Thousand Only | 3 | Supplying and stacking sludge at site including royalty and carriage upto 5km lead complete (sludge measured in stacks will be reduced by 8% for payment). (2.3) | BI01010001010000000000000515BI0100001115 | 241 | Cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.3 | 2 X6sq. mm + 1 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 30 | Mtrs | 249 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7470 | 7470 | INR Seven Thousand Four Hundred & Seventy Only | 4 | Supplying and stacking at site dump manure from approved source, including carriage upto 5 km lead complete (manure measured in stacks will be reduced by 8% for payment) : Screened through sieve of I.S. designation 16 mm (2.4.2) | BI01010001010000000000000515BI0100001116 | 241 | Cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.4 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 436 | Mtrs | 394 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 171784 | 171784 | INR One Lakh Seventy One Thousand Seven Hundred & Eighty Four Only | 5 | Uprooting weeds from the trenched area after 10 to 15 days of its flooding with water including disposal of uprooted vegetation.(2.6) | BI01010001010000000000000515BI0100001117 | 4819 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.5 | 4 X 10sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001118 | 20 | Mtrs | 543 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10860 | 10860 | INR Ten Thousand Eight Hundred & Sixty Only | 6 | Spreading of sludge, dump manure and/or good earth in required thickness as per direction of officer-in-charge (cost of sludge, dump manure and/ or good earth to be paid separately) (2.8) | BI01010001010000000000000515BI0100001118 | 482 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required | BI01010001010000000000000515BI0100001119 | 54 | Nos | 401 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21654 | 21654 | INR Twenty One Thousand Six Hundred & Fifty Four Only | 7 | Grassing with selection No. 1/ Doob grass including watering and maintenance of the lawn for 30 days or more till the grass forms a thick lawn, free from weeds and fit for mowing including supplying good earth, if needed (the grass and good earth shall be paid for separately). With grass Turf (2.10.2) | BI01010001010000000000000515BI0100001119 | 4819 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Supplying and fixing suitable size GI box with modular plateand cover in front on surface or in recess, including providingand fixing 6 pin 5/6 A & 15/16 A modular socket outlet and15/16 A modular switch, connections etc. as required.Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001120 | 60 | Nos | 495 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29700 | 29700 | INR Twenty Nine Thousand Seven Hundred Only | 8 | Providing and Displaying Chrysanthemum single variety in different colour well developed having 45 to 60 cm ht., minimum 100 and above half bloom flowers open well stacked with bamboo stick having three layer tiding by thread fresh and healthy foliage in 25 cm Earthen Pot and as per direction of the officer-in-charge. (4.13) | BI01010001010000000000000515BI0100001120 | 100 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way , Double door | BI01010001010000000000000515BI0100001121 | 2 | Nos | 1760 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3520 | 3520 | INR Three Thousand Five Hundred & Twenty Only | 9 | Providing and Displaying Dahlia double kenya variety in different colour well developed with 3 to 4 flowers in half bloom, good foliage stacked withGreen painted Bamboo sticks, 45 to 60 cm height in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.24) | BI01010001010000000000000515BI0100001121 | 100 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way (4 + 24), Double door | BI01010001010000000000000515BI0100001122 | 3 | Nos | 4601 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13803 | 13803 | INR Thirteen Thousand Eight Hundred & Three Only | 10 | Providing and Displaying Marigold jaffri dwarf in different colour well developed with fresh & healthy foliage with 12 to 15 flowers in full bloom specimen plant 23 to 30 cm ht. in 20 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.36) | BI01010001010000000000000515BI0100001122 | 100 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) 8 way (4 + 24), Double door | BI01010001010000000000000515BI0100001123 | 2 | Nos | 7744 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15488 | 15488 | INR Fifteen Thousand Four Hundred & Eighty Eight Only | 11 | Providing and Displaying Petunia hybrid different variety in different colour well developed with fresh and healthy foliage in full bloom in 25 cm Earthen Pot/Plastic Pot as per direction of the officer-in-charge. (4.50) | BI01010001010000000000000515BI0100001123 | 100 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider Single Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001124 | 45 | Nos | 199 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8955 | 8955 | INR Eight Thousand Nine Hundred & Fifty Five Only | 12 | Providing and Displaying Salvia dwarf variety with fresh & healthy foliage well developed multi branching in blooming stage in 15 cm Earthen Pot/ Plastic Pot and as per direction of the officer-in-charge. (4.60) | BI01010001010000000000000515BI0100001124 | 75 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Double pole | BI01010001010000000000000515BI0100001126 | 4 | Nos | 556 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2224 | 2224 | INR Two Thousand Two Hundred & Twenty Four Only | 14 | Providing and Displaying Gazania hybrid in different colour well developedwith fresh & healthy foliage with full bloom in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.31) | BI01010001010000000000000515BI0100001126 | 100 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | FP MCB 40/63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001127 | 12 | Nos | 2389 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28668 | 28668 | INR Twenty Eight Thousand Six Hundred & Sixty Eight Only | 15 | Providing and Displaying Kochia well developed fresh & healthy 30 to 45cm ht. lush green well shaped in 25 cm Earthen Pot/Plastic Pot and as perdirection of the officer-in-charge. (4.78) | BI01010001010000000000000515BI0100001127 | 100 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11 | 125 36KA Amp,MCCBS Conforms to IS/IEC-60947-2 Make-L&T/ABB/Indoasian | BI01010001010000000000000515BI0100001128 | 2 | Nos | 7504 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15008 | 15008 | INR Fifteen Thousand &Eight Only | 16 | Providing and Displaying Zinnia hybrid double in different colour well developed fresh & healthy 30 to 45 cm ht. (3 to 4 in each pot) full bloom in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.86) | BI01010001010000000000000515BI0100001128 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
12 | Supplying ,fixing Connecting & Testing ,20W LED batten Make-Philipse/Syska/Wipro/CG | BI01010001010000000000000515BI0100001129 | 15 | Nos | 415 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6225 | 6225 | INR Six Thousand Two Hundred & Twenty Five Only | 17 | Providing and Displaying Gaillardia double hybrid variety well developed 30 to 45 cm ht 20 to 30 fresh & healthy flower with green painted bamboo stick in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.75) | BI01010001010000000000000515BI0100001129 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
13 | Supply & Installation of 2X2 pure LED false ceiling Surface Light Make-Phillipse/Wipro/CG/Polycab | BI01010001010000000000000515BI0100001130 | 48 | Nos | 4189 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 201072 | 201072 | INR Two Lakh One Thousand &Seventy Two Only | 18 | Providing and Displaying Portulaca hybrid in different colour with bloom well developed fresh & healthy in 20 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.79) | BI01010001010000000000000515BI0100001130 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
14 | Supplying and fixing of 230VAC 1Ph.400 mm ,900 rpm Wall Fan Make-ORIENT/CG/USHA/Bajaj | BI01010001010000000000000515BI0100001131 | 12 | Nos | 3081 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36972 | 36972 | INR Thirty Six Thousand Nine Hundred & Seventy Two Only | 19 | Providing and displaying of Areca Palm having ht. 1.80 m to 2.10 m with 8 to 10 suckers, well developed, fresh and healthy with lush green foliage in 30 cm size of Earthen pot/Plastic pot & as per direction of the officer-in-charge. (3.21) | BI01010001010000000000000515BI0100001131 | 75 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15 | Supplying and fixing of 230VAC 1Ph. 1400mm dia Ceiling Fan (High Speed) . (Make: Usha / Crompton / Bajaj ) | BI01010001010000000000000515BI0100001132 | 38 | Nos | 2583 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 98154 | 98154 | INR Ninety Eight Thousand One Hundred & Fifty Four Only | 20 | Providing and displaying of Croton golden (Broad Leaves) having ht. 60 cm to 75 cm with 3 to 4 branches, well developed, fresh and healthy leaves in 25 cm size of Earthen pot/Plastic pot. & as per direction of the officer-in-charge. (3.32) | BI01010001010000000000000515BI0100001132 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator | BI01010001010000000000000515BI0100001133 | 38 | Nos | 342 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12996 | 12996 | INR Twelve Thousand Nine Hundred & Ninety Six Only | 21 | Providing and displaying of Dracaena song of India specimen (three in one), having ht. 60 cm & above, well developed, fresh and healthy with good foliage in 25 cm size of Earthen pot/Plastic pot & as per direction of the officer-in-charge. (3.45) | BI01010001010000000000000515BI0100001133 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | Supplying and fixing of 230VAC 1Ph. 450 mm exhaust Fan with sweep feature. ( Make: Usha / ORIENT / CG) | BI01010001010000000000000515BI0100001134 | 6 | Nos | 5200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31200 | 31200 | INR Thirty One Thousand Two Hundred Only | 22 | Providing and displaying of Syngonium golden mounted on moss stick 90 cm ht., 3 to 4 s placed in each pot at equal distance, well developed with full of fresh & healthy leaves from bottom to top in 25 cm size of Earthen pot/Plastic pot & as per direction of the officer-in-charge. (3.91) | BI01010001010000000000000515BI0100001134 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | Supplying,Cutting of huck , painting and fixing of MS Down down conduit for installation of ceiling fan upto 5 to 15 feet | BI01010001010000000000000515BI0100001135 | 38 | Nos | 550 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20900 | 20900 | INR Twenty Thousand Nine Hundred Only | 23 | Providing and Displaying Adenium Obesum grafted well developed with fresh & healthy 30 to 60 cm ht. in 25 cm size Earthen Pot/ Plastic Pot as per direction of the officer-in-charge. (5.5) | BI01010001010000000000000515BI0100001135 | 75 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
19 | 4 Way Encloser Metal Box for FP MCB | BI01010001010000000000000515BI0100001136 | 16 | Nos | 608 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9728 | 9728 | INR Nine Thousand Seven Hundred & Twenty Eight Only | 24 | Providing and stacking of Bottle palm of ht. 210-240 cm bottom girth 30-35 cm well developed in big HDPE bags. (7.11) | BI01010001010000000000000515BI0100001136 | 75 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
20 | Supply and fixing of LED Flood light fitting having die cast aluminium body and diffuser with driver set suitable for 50 to Watt. Confirming to IP 66 and above protection complete in all respect.Make- Bajaj, Philips,C&S,Crompton& Havells. | BI01010001010000000000000515BI0100001137 | 12 | Nos | 4986 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 59832 | 59832 | INR Fifty Nine Thousand Eight Hundred & Thirty Two Only | 25 | Providing and Displaying Golden Bottle brush Topiary well developed with fresh & healthy foliage 5 to 6 big ball 115 to 180 cm ht in 40 cm Cement Pot as per direction of the officer-in-charge. (5.33) | BI01010001010000000000000515BI0100001137 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21 | Earthing with G.I earth plate 600 mm X 600 mm X 6 mmthick including accessories, and providing masonry enclosurewith cover plate having locking arrangement and watering pipeof 2.7 meter long etc. with charcoal/ coke and salt as required. | BI01010001010000000000000515BI0100001138 | 2 | Nos | 6216 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12432 | 12432 | INR Twelve Thousand Four Hundred & Thirty Two Only | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
22 | Supplying & laying 25mmx5mm G.I Strip at 0.50 meter belwo ground as strip on surface or in reces for connection etc. Connetion/termination with G.I Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | BI01010001010000000000000515BI0100001139 | 40 | Mtrs | 57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2280 | 2280 | INR Two Thousand Two Hundred & Eighty Only | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
23 | SITC of 125 Amp. Main Switch with 6 nos SFU & Enclosour box Make- L&T/ABB/SEIMENS. | BI01010001010000000000000515BI0100001140 | 2 | Nos | 9633 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19266 | 19266 | INR Nineteen Thousand Two Hundred & Sixty Six Only | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
24 | Supply & Installation of industrial shockt 32Amp. 5 pin with box and all respect for power supply to haivy equipmnent. | BI01010001010000000000000515BI0100001141 | 2 | Nos | 1039 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2078 | 2078 | INR Two Thousand &Seventy Eight Only | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
25 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001142 | 10 | Nos | 639 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6390 | 6390 | INR Six Thousand Three Hundred & Ninety Only | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
26 | Supply and laying/fixing in wall of 3.5CX70Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required | BI01010001010000000000000515BI0100001143 | 80 | Mtr | 957 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 76560 | 76560 | INR Seventy Six Thousand Five Hundred & Sixty Only | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | 1138859 | 1138859 | INR Eleven Lakh Thirty Eight Thousand Eight Hundred & Fifty Nine Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information