## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superinteding Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: Providing and fixing false ceiling aluminium partition and painting, tiles, granite top and door window work in CMD division in Metallurgical Engineering, IIT (BHU), Varanasi.
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar (15.7.4) | BI01010001010000000000000515BI0100001113 | 2 | Cum | 1469.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2939.8 | 2939.8 | INR Two Thousand Nine Hundred & Thirty Nine and Paise Eighty Only | 1 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar (15.7.4) | BI01010001010000000000000515BI0100001113 | 2 | Cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete.(13.91) | BI01010001010000000000000515BI0100001114 | 155 | Sqm | 18.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2828.75 | 2828.75 | INR Two Thousand Eight Hundred & Twenty Eight and Paise Seventy Five Only | 2 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete.(13.91) | BI01010001010000000000000515BI0100001114 | 155 | Sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) | BI01010001010000000000000515BI0100001115 | 65 | Sqm | 115.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7484.75 | 7484.75 | INR Seven Thousand Four Hundred & Eighty Four and Paise Seventy Five Only | 3 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) | BI01010001010000000000000515BI0100001115 | 65 | Sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water tinnable priming coat with cement primer (13.41.1) | BI01010001010000000000000515BI0100001116 | 340 | Sqm | 153.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 52173 | 52173 | INR Fifty Two Thousand One Hundred & Seventy Three Only | 4 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water tinnable priming coat with cement primer (13.41.1) | BI01010001010000000000000515BI0100001116 | 340 | Sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : "1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). (4.1.3) | BI01010001010000000000000515BI0100001117 | 1 | Cum | 6788.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6788.6 | 6788.6 | INR Six Thousand Seven Hundred & Eighty Eight and Paise Sixty Only | 5 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : "1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). (4.1.3) | BI01010001010000000000000515BI0100001117 | 1 | Cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works (10.25.2) | BI01010001010000000000000515BI0100001118 | 86 | Kg | 131 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11266 | 11266 | INR Eleven Thousand Two Hundred & Sixty Six Only | 6 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works (10.25.2) | BI01010001010000000000000515BI0100001118 | 86 | Kg | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws (9.20.2) | BI01010001010000000000000515BI0100001119 | 10 | Sqm | 2756.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27563.5 | 27563.5 | INR Twenty Seven Thousand Five Hundred & Sixty Three and Paise Fifty Only | 7 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws (9.20.2) | BI01010001010000000000000515BI0100001119 | 10 | Sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture (13.62.1) | BI01010001010000000000000515BI0100001120 | 4 | Sqm | 177.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 708.6 | 708.6 | INR Seven Hundred & Eight and Paise Sixty Only | 8 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture (13.62.1) | BI01010001010000000000000515BI0100001120 | 4 | Sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm (9.100.1) | BI01010001010000000000000515BI0100001121 | 6 | Nos | 59.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 357.9 | 357.9 | INR Three Hundred & Fifty Seven and Paise Ninety Only | 9 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm (9.100.1) | BI01010001010000000000000515BI0100001121 | 6 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm (9.97.1) | BI01010001010000000000000515BI0100001122 | 3 | Nos | 116.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 350.4 | 350.4 | INR Three Hundred & Fifty and Paise Forty Only | 10 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm (9.97.1) | BI01010001010000000000000515BI0100001122 | 3 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm (9.96.1) | BI01010001010000000000000515BI0100001123 | 3 | Nos | 257.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 771.45 | 771.45 | INR Seven Hundred & Seventy One and Paise Forty Five Only | 11 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm (9.96.1) | BI01010001010000000000000515BI0100001123 | 3 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991,in true horizontal level suspended on interlocking metal T-Grid of hot dipped galvanised iron section of 0.33mm thick (galvanized @ 120 grams per sqm including both sides) comprising of main-T runners of size 24x38 mm of length 3000 mm, cross - T of size 24x32 mm of length 1200 mm and secondary intermediate cross-T of size 24x32 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x25x2 mm. Galvanised iron perimeter wall angle of size 24x24x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. With 15 mm thick tegular edged light weight calcium silicate false ceiling tiles.(26.22.1) | BI01010001010000000000000515BI0100001124 | 78 | Sqm | 1688.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 131726.4 | 131726.4 | INR One Lakh Thirty One Thousand Seven Hundred & Twenty Six and Paise Forty Only | 12 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991,in true horizontal level suspended on interlocking metal T-Grid of hot dipped galvanised iron section of 0.33mm thick (galvanized @ 120 grams per sqm including both sides) comprising of main-T runners of size 24x38 mm of length 3000 mm, cross - T of size 24x32 mm of length 1200 mm and secondary intermediate cross-T of size 24x32 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x25x2 mm. Galvanised iron perimeter wall angle of size 24x24x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. With 15 mm thick tegular edged light weight calcium silicate false ceiling tiles.(26.22.1) | BI01010001010000000000000515BI0100001124 | 78 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) ( 6.13.2 ) | BI01010001010000000000000515BI0100001125 | 41 | sqm | 932.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38216.1 | 38216.1 | INR Thirty Eight Thousand Two Hundred & Sixteen and Paise Ten Only | 13 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) ( 6.13.2 ) | BI01010001010000000000000515BI0100001125 | 41 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) ( 13.4.2 ) | BI01010001010000000000000515BI0100001126 | 41 | sqm | 263.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10805.55 | 10805.55 | INR Ten Thousand Eight Hundred & Five and Paise Fifty Five Only | 14 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) ( 13.4.2 ) | BI01010001010000000000000515BI0100001126 | 41 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622 , of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600 x 600 mm (11.49.2) | BI01010001010000000000000515BI0100001127 | 84 | sqm | 1609.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 135235.8 | 135235.8 | INR One Lakh Thirty Five Thousand Two Hundred & Thirty Five and Paise Eighty Only | 15 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622 , of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600 x 600 mm (11.49.2) | BI01010001010000000000000515BI0100001127 | 84 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) (21.1.1.1) | BI01010001010000000000000515BI0100001128 | 52 | kg | 423.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22045.4 | 22045.4 | INR Twenty Two Thousand &Forty Five and Paise Forty Only | 16 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) (21.1.1.1) | BI01010001010000000000000515BI0100001128 | 52 | kg | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of Engineer-in-charge. Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side (21.2.1) | BI01010001010000000000000515BI0100001129 | 4 | Sqm | 997.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3990.8 | 3990.8 | INR Three Thousand Nine Hundred & Ninety and Paise Eighty Only | 17 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of Engineer-in-charge. Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side (21.2.1) | BI01010001010000000000000515BI0100001129 | 4 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5.50 mm thickness( 21.3.2) | BI01010001010000000000000515BI0100001130 | 11 | Sqm | 1296.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14260.4 | 14260.4 | INR Fourteen Thousand Two Hundred & Sixty and Paise Forty Only | 18 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5.50 mm thickness( 21.3.2) | BI01010001010000000000000515BI0100001130 | 11 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
19 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete.(21.13) | BI01010001010000000000000515BI0100001131 | 3 | Nos | 458.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1375.65 | 1375.65 | INR One Thousand Three Hundred & Seventy Five and Paise Sixty Five Only | 19 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete.(21.13) | BI01010001010000000000000515BI0100001131 | 3 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
20 | Providing and fixing white vitreous china laboratory sink with C.I. brackets, C.P. brass chain with rubber plug, 40 mm C.P brass waste and 40mm C.P. brass trap with necessary C.P. brass unions complete, including painting of fittings and brackets, cutting and making good the wall wherever required : Size 600x450x200 mm (17.11.2) | BI01010001010000000000000515BI0100001132 | 3 | Nos | 5460.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16381.35 | 16381.35 | INR Sixteen Thousand Three Hundred & Eighty One and Paise Thirty Five Only | 20 | Providing and fixing white vitreous china laboratory sink with C.I. brackets, C.P. brass chain with rubber plug, 40 mm C.P brass waste and 40mm C.P. brass trap with necessary C.P. brass unions complete, including painting of fittings and brackets, cutting and making good the wall wherever required : Size 600x450x200 mm (17.11.2) | BI01010001010000000000000515BI0100001132 | 3 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc.Internal work - Exposed on wall 15 mm dia nominal bore (18.10.1) | BI01010001010000000000000515BI0100001133 | 24 | Mtrs | 284.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6837.6 | 6837.6 | INR Six Thousand Eight Hundred & Thirty Seven and Paise Sixty Only | 21 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc.Internal work - Exposed on wall 15 mm dia nominal bore (18.10.1) | BI01010001010000000000000515BI0100001133 | 24 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
22 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 :15 mm nominal bore (18.49.1) | BI01010001010000000000000515BI0100001134 | 3 | Nos | 418.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1256.85 | 1256.85 | INR One Thousand Two Hundred & Fifty Six and Paise Eighty Five Only | 22 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 :15 mm nominal bore (18.49.1) | BI01010001010000000000000515BI0100001134 | 3 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
23 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore (18.52.1) | BI01010001010000000000000515BI0100001135 | 3 | Nos | 606.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1818.75 | 1818.75 | INR One Thousand Eight Hundred & Eighteen and Paise Seventy Five Only | 23 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore (18.52.1) | BI01010001010000000000000515BI0100001135 | 3 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
24 | Providing and laying gang saw cut 30 mm thick, mirror polished pre moulded and pre polished machine cut granite stone of required size and shape of approved shade, colour and texture in footpath, flooring in road side plazas and similar locations, laid over 20mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement mixed with matching pigment, epoxy touch ups etc. complete as per direction of Engineer-in-Charge. With granite stone of area less than 0.50 sqm.(16.87.1) | BI01010001010000000000000515BI0100001136 | 15 | sqm | 4006.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60102.75 | 60102.75 | INR Sixty Thousand One Hundred & Two and Paise Seventy Five Only | 24 | Providing and laying gang saw cut 30 mm thick, mirror polished pre moulded and pre polished machine cut granite stone of required size and shape of approved shade, colour and texture in footpath, flooring in road side plazas and similar locations, laid over 20mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement mixed with matching pigment, epoxy touch ups etc. complete as per direction of Engineer-in-Charge. With granite stone of area less than 0.50 sqm.(16.87.1) | BI01010001010000000000000515BI0100001136 | 15 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
25 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centering, shuttering, finishing and reinforcement - All work upto plinth level 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) (5.1.2) | BI01010001010000000000000515BI0100001137 | 2 | cum | 7718.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15436.5 | 15436.5 | INR Fifteen Thousand Four Hundred & Thirty Six and Paise Fifty Only | 25 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centering, shuttering, finishing and reinforcement - All work upto plinth level 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) (5.1.2) | BI01010001010000000000000515BI0100001137 | 2 | cum | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
26 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. (5.22.6) | BI01010001010000000000000515BI0100001138 | 173 | kg | 83.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14445.5 | 14445.5 | INR Fourteen Thousand Four Hundred & Forty Five and Paise Fifty Only | 26 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. (5.22.6) | BI01010001010000000000000515BI0100001138 | 173 | kg | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27 | Centering and shuttering including strutting, propping etc. and removal of form for: Suspended floors, roofs, landings, balconies and access platform (5.9.3) | BI01010001010000000000000515BI0100001139 | 15 | sqm | 693.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10395.75 | 10395.75 | INR Ten Thousand Three Hundred & Ninety Five and Paise Seventy Five Only | 27 | Centering and shuttering including strutting, propping etc. and removal of form for: Suspended floors, roofs, landings, balconies and access platform (5.9.3) | BI01010001010000000000000515BI0100001139 | 15 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
28 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved.(15.60) | BI01010001010000000000000515BI0100001140 | 3 | Cum | 138.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 416.55 | 416.55 | INR Four Hundred & Sixteen and Paise Fifty Five Only | 28 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved.(15.60) | BI01010001010000000000000515BI0100001140 | 3 | Cum | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | 597980.45 | 597980.45 | INR Five Lakh Ninety Seven Thousand Nine Hundred & Eighty and Paise Forty Five Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information