## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superinteding Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: Estimate for Electrical installation,illuminations and wiring for Various Department [Pharmaceutical Engg & Technolgy Lab No.02,05 & 20 , Physics Department , Experimental lab of Information Photonics and Optical Metrology and Department of Metallurgical engg in MMD lab.
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell pointwith 1.5 sq.mm FRLS PVC insulated copper conductor singlecore cable in surface / recessed medium class PVC conduit,with modular switch, modular plate, suitable GI box and earthingthe point with 1.5 sq.mm FRLS PVC insulated copper conductorsingle core cable etc. as required. | BI01010001010000000000000515BI0100001113 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1 | Wiring for light point/ fan point/ exhaust fan point/ call bell pointwith 1.5 sq.mm FRLS PVC insulated copper conductor singlecore cable in surface / recessed medium class PVC conduit,with modular switch, modular plate, suitable GI box and earthingthe point with 1.5 sq.mm FRLS PVC insulated copper conductorsingle core cable etc. as required. | BI01010001010000000000000515BI0100001113 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | Group C | BI01010001010000000000000515BI0100001114 | 64 | Points | 990 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 63360 | 63360 | INR Sixty Three Thousand Three Hundred & Sixty Only | 1.1 | Group C | BI01010001010000000000000515BI0100001114 | 64 | Points | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab | BI01010001010000000000000515BI0100001115 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab | BI01010001010000000000000515BI0100001115 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.1 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 290 | Mtrs | 167 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 48430 | 48430 | INR Forty Eight Thousand Four Hundred & Thirty Only | 2.1 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 290 | Mtrs | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 190 | Mtrs | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38000 | 38000 | INR Thirty Eight Thousand Only | 2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 190 | Mtrs | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.3 | 2 X6sq. mm + 1 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001118 | 50 | Mtrs | 249 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12450 | 12450 | INR Twelve Thousand Four Hundred & Fifty Only | 2.3 | 2 X6sq. mm + 1 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001118 | 50 | Mtrs | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.4 | 4 X10sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001119 | 20 | Mtrs | 543 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10860 | 10860 | INR Ten Thousand Eight Hundred & Sixty Only | 2.4 | 4 X10sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001119 | 20 | Mtrs | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required | BI01010001010000000000000515BI0100001120 | 68 | Nos | 401 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27268 | 27268 | INR Twenty Seven Thousand Two Hundred & Sixty Eight Only | 3 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required | BI01010001010000000000000515BI0100001120 | 68 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | Supplying and fixing suitable size GI box with modular plateand cover in front on surface or in recess, including providingand fixing 6 pin 5/6 A & 15/16 A modular socket outlet and15/16 A modular switch, connections etc. as required.Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001121 | 61 | Nos | 495 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30195 | 30195 | INR Thirty Thousand One Hundred & Ninety Five Only | 4 | Supplying and fixing suitable size GI box with modular plateand cover in front on surface or in recess, including providingand fixing 6 pin 5/6 A & 15/16 A modular socket outlet and15/16 A modular switch, connections etc. as required.Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001121 | 61 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way (4 + 24), Double door | BI01010001010000000000000515BI0100001122 | 1 | Nos | 4601 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4601 | 4601 | INR Four Thousand Six Hundred & One Only | 5 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way (4 + 24), Double door | BI01010001010000000000000515BI0100001122 | 1 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 4 way (4 + 24), Double door | BI01010001010000000000000515BI0100001123 | 1 | Nos | 3068 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3068 | 3068 | INR Three Thousand &Sixty Eight Only | 6 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 4 way (4 + 24), Double door | BI01010001010000000000000515BI0100001123 | 1 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001124 | 5 | Nos | 639 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3195 | 3195 | INR Three Thousand One Hundred & Ninety Five Only | 7 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001124 | 5 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001125 | 50 | Nos | 199 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9950 | 9950 | INR Nine Thousand Nine Hundred & Fifty Only | 8 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001125 | 50 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Supplying and fixing 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider. | BI01010001010000000000000515BI0100001126 | 2 | Nos | 556 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1112 | 1112 | INR One Thousand One Hundred & Twelve Only | 9 | Supplying and fixing 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider. | BI01010001010000000000000515BI0100001126 | 2 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | Supplying ,fixing Connecting & Testing ,20W LED batten Make-Philipse/Syska/Wipro/CG | BI01010001010000000000000515BI0100001127 | 12 | Nos | 415 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4980 | 4980 | INR Four Thousand Nine Hundred & Eighty Only | 10 | Supplying ,fixing Connecting & Testing ,20W LED batten Make-Philipse/Syska/Wipro/CG | BI01010001010000000000000515BI0100001127 | 12 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11 | Supply & Installation of 2X2 pure LED false ceiling Surface Light Make-Phillipse/Wipro/CG/Polycab | BI01010001010000000000000515BI0100001128 | 16 | Nos | 3850 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61600 | 61600 | INR Sixty One Thousand Six Hundred Only | 11 | Supply & Installation of 2X2 pure LED false ceiling Surface Light Make-Phillipse/Wipro/CG/Polycab | BI01010001010000000000000515BI0100001128 | 16 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
12 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator | BI01010001010000000000000515BI0100001129 | 8 | Nos | 288 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2304 | 2304 | INR Two Thousand Three Hundred & Four Only | 12 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator | BI01010001010000000000000515BI0100001129 | 8 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
13 | Supplying and fixing of 230VAC 1Ph. 300 mm exhaust Fan with sweep feature. ( Make: Usha / ORIENT / CG) | BI01010001010000000000000515BI0100001130 | 4 | Nos | 3850 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15400 | 15400 | INR Fifteen Thousand Four Hundred Only | 13 | Supplying and fixing of 230VAC 1Ph. 300 mm exhaust Fan with sweep feature. ( Make: Usha / ORIENT / CG) | BI01010001010000000000000515BI0100001130 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
14 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 12 way Double door. | BI01010001010000000000000515BI0100001131 | 2 | Nos | 2053 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4106 | 4106 | INR Four Thousand One Hundred & Six Only | 14 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 12 way Double door. | BI01010001010000000000000515BI0100001131 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15 | Supplying and fixing of 230VAC 1Ph.300 mm ,900 rpm Wall Fan Make-ORIENT/CG/USHA/Bajaj | BI01010001010000000000000515BI0100001132 | 4 | Nos | 2452 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9808 | 9808 | INR Nine Thousand Eight Hundred & Eight Only | 15 | Supplying and fixing of 230VAC 1Ph.300 mm ,900 rpm Wall Fan Make-ORIENT/CG/USHA/Bajaj | BI01010001010000000000000515BI0100001132 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16 | Supplying,Cutting of huck , painting and fixing of MS Down down conduit for installation of ceiling fan upto 5 to 8 feet | BI01010001010000000000000515BI0100001133 | 2 | Nos | 550 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1100 | 1100 | INR One Thousand One Hundred Only | 16 | Supplying,Cutting of huck , painting and fixing of MS Down down conduit for installation of ceiling fan upto 5 to 8 feet | BI01010001010000000000000515BI0100001133 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | TP MCB 40/63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001134 | 2 | Nos | 2855 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5710 | 5710 | INR Five Thousand Seven Hundred & Ten Only | 17 | TP MCB 40/63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001134 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | 357497 | 357497 | INR Three Lakh Fifty Seven Thousand Four Hundred & Ninety Seven Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information