## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superinteding Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: BOQ Electrical Installations & Wiring Works in the Electrical Machine & Drive Lab of the Electrical Engineering Department IIT(BHU)
Contract No: IIT(BHU)/IWD/ET-06/2022-23/614 Dated 26.07.2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (Make: Polycab/ Finolex/ L&T ) Group C | BI01010001010000000000000515BI0100001113 | 2 | Points | 990 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Trenching in ordinary soil up to a depth of 60 cm including removal andstacking of serviceable materials and then disposing of surplus soil, byspreading and neatly levelling within a lead of 50 m and making up thetrenched area to proper levels by filling with earth or earth mixed withsludge or / and manure before and after flooding trench with water (excludingcost of imported earth, sludge or manure). (2.1) | BI01010001010000000000000515BI0100001113 | 1446 | Cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. (Make: Polycab/ Finolex/ L&T) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001114 | 5 | Mtrs | 167 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Supplying and stacking of good earth at site including royalty and carriage upto 5 km lead complete (earth measured in stacks will be reduced by 20% for payment). (2.2) | BI01010001010000000000000515BI0100001114 | 482 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001115 | 93 | Mtrs | 308 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying and stacking sludge at site including royalty and carriage upto 5km lead complete (sludge measured in stacks will be reduced by 8% for payment). (2.3) | BI01010001010000000000000515BI0100001115 | 241 | Cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 145 | Mtrs | 394 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Supplying and stacking at site dump manure from approved source, including carriage upto 5 km lead complete (manure measured in stacks will be reduced by 8% for payment) : Screened through sieve of I.S. designation 16 mm (2.4.2) | BI01010001010000000000000515BI0100001116 | 241 | Cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | 4 X 10 sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 40 | Mtrs | 543 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5 | Uprooting weeds from the trenched area after 10 to 15 days of its flooding with water including disposal of uprooted vegetation.(2.6) | BI01010001010000000000000515BI0100001117 | 4819 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Supplying and fixing of8 way (4 + 24), Double door surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly owder painted, inclusive of 200 A, tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required. (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) (Make: ABB / L&T / Legrand) | BI01010001010000000000000515BI0100001118 | 1 | Nos | 7744 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6 | Spreading of sludge, dump manure and/or good earth in required thickness as per direction of officer-in-charge (cost of sludge, dump manure and/ or good earth to be paid separately) (2.8) | BI01010001010000000000000515BI0100001118 | 482 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Providing and fixing following rating and breaking capacity and pole MCCB with thermo magnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. (For VTPN DB) (Make: ABB / L&T / Legrand) 125 A,36KA,FPMCCB | BI01010001010000000000000515BI0100001119 | 1 | Nos | 7505 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7 | Grassing with selection No. 1/ Doob grass including watering and maintenance of the lawn for 30 days or more till the grass forms a thick lawn, free from weeds and fit for mowing including supplying good earth, if needed (the grass and good earth shall be paid for separately). With grass Turf (2.10.2) | BI01010001010000000000000515BI0100001119 | 4819 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/ Isolator) 8 way (4 + 24), Double door | BI01010001010000000000000515BI0100001120 | 2 | Nos | 4601 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8 | Providing and Displaying Chrysanthemum single variety in different colour well developed having 45 to 60 cm ht., minimum 100 and above half bloom flowers open well stacked with bamboo stick having three layer tiding by thread fresh and healthy foliage in 25 cm Earthen Pot and as per direction of the officer-in-charge. (4.13) | BI01010001010000000000000515BI0100001120 | 100 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | 32 Amp Triple pole MCB | BI01010001010000000000000515BI0100001121 | 20 | Nos | 1350 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9 | Providing and Displaying Dahlia double kenya variety in different colour well developed with 3 to 4 flowers in half bloom, good foliage stacked withGreen painted Bamboo sticks, 45 to 60 cm height in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.24) | BI01010001010000000000000515BI0100001121 | 100 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | 32 A "C" curve FP MCB | BI01010001010000000000000515BI0100001122 | 20 | Nos | 1785 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10 | Providing and Displaying Marigold jaffri dwarf in different colour well developed with fresh & healthy foliage with 12 to 15 flowers in full bloom specimen plant 23 to 30 cm ht. in 20 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.36) | BI01010001010000000000000515BI0100001122 | 100 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | 4 Way sheet steel enclosure | BI01010001010000000000000515BI0100001123 | 20 | Nos | 670 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11 | Providing and Displaying Petunia hybrid different variety in different colour well developed with fresh and healthy foliage in full bloom in 25 cm Earthen Pot/Plastic Pot as per direction of the officer-in-charge. (4.50) | BI01010001010000000000000515BI0100001123 | 100 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | 63 A "C" curve FP MCB | BI01010001010000000000000515BI0100001124 | 2 | Nos | 2719 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12 | Providing and Displaying Salvia dwarf variety with fresh & healthy foliage well developed multi branching in blooming stage in 15 cm Earthen Pot/ Plastic Pot and as per direction of the officer-in-charge. (4.60) | BI01010001010000000000000515BI0100001124 | 75 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | DP MCB "C" curve 40/63 A | BI01010001010000000000000515BI0100001125 | 8 | Nos | 950 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13 | Providing and Displaying Salvia ht. 45 to 60 cm multi branches stackingwith bamboo stick specimen type with full bloom well developed in 30 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.61) | BI01010001010000000000000515BI0100001125 | 75 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | 2 Way sheet steel enclosure | BI01010001010000000000000515BI0100001126 | 7 | Nos | 670 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14 | Providing and Displaying Gazania hybrid in different colour well developedwith fresh & healthy foliage with full bloom in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.31) | BI01010001010000000000000515BI0100001126 | 100 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | Providing & fixing of end terminal to provide connections of Motors | BI01010001010000000000000515BI0100001127 | 150 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15 | Providing and Displaying Kochia well developed fresh & healthy 30 to 45cm ht. lush green well shaped in 25 cm Earthen Pot/Plastic Pot and as perdirection of the officer-in-charge. (4.78) | BI01010001010000000000000515BI0100001127 | 100 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16 | Supplying and laying of LT power cable of 3.5Cx 50 Sqmm on wall surface including termination at both ends using gland and lugs as required. (Make: Polycab/ Gloster/ KEI) | BI01010001010000000000000515BI0100001128 | 40 | Mtrs | 464 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16 | Providing and Displaying Zinnia hybrid double in different colour well developed fresh & healthy 30 to 45 cm ht. (3 to 4 in each pot) full bloom in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.86) | BI01010001010000000000000515BI0100001128 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | Provind & connection of Cable End termination | BI01010001010000000000000515BI0100001129 | 2 | Nos | 900 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 17 | Providing and Displaying Gaillardia double hybrid variety well developed 30 to 45 cm ht 20 to 30 fresh & healthy flower with green painted bamboo stick in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.75) | BI01010001010000000000000515BI0100001129 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information