## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superinteding Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: Construction of security guard post near Gandhi Smriti crossing and c/o of toilet for head chamber in LT - 1, Department of Mathematical Sciences & c/o of new toilet in Pharmaceutics, IIT (BHU),Varanasi.
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead.(15.56) | BI01010001010000000000000515BI0100001113 | 2 | sqm | 39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Trenching in ordinary soil up to a depth of 60 cm including removal andstacking of serviceable materials and then disposing of surplus soil, byspreading and neatly levelling within a lead of 50 m and making up thetrenched area to proper levels by filling with earth or earth mixed withsludge or / and manure before and after flooding trench with water (excludingcost of imported earth, sludge or manure). (2.1) | BI01010001010000000000000515BI0100001113 | 1446 | Cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) | BI01010001010000000000000515BI0100001114 | 2 | cum | 1737.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Supplying and stacking of good earth at site including royalty and carriage upto 5 km lead complete (earth measured in stacks will be reduced by 20% for payment). (2.2) | BI01010001010000000000000515BI0100001114 | 482 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Demolishing brick work manually / by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge: In cement mortar (15.7.4) | BI01010001010000000000000515BI0100001115 | 1 | cum | 1469.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying and stacking sludge at site including royalty and carriage upto 5km lead complete (sludge measured in stacks will be reduced by 8% for payment). (2.3) | BI01010001010000000000000515BI0100001115 | 241 | Cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Demolishing lime concrete manually / by mechanical means and disposal of material within 50 metres lead as per direction of Engineer in charge. (15.1) | BI01010001010000000000000515BI0100001116 | 1 | cum | 607.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Supplying and stacking at site dump manure from approved source, including carriage upto 5 km lead complete (manure measured in stacks will be reduced by 8% for payment) : Screened through sieve of I.S. designation 16 mm (2.4.2) | BI01010001010000000000000515BI0100001116 | 241 | Cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50m All kinds of soil. (2.8.1) | BI01010001010000000000000515BI0100001117 | 14 | Cum | 252.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5 | Uprooting weeds from the trenched area after 10 to 15 days of its flooding with water including disposal of uprooted vegetation.(2.6) | BI01010001010000000000000515BI0100001117 | 4819 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | (a) Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work upto plinth level 1:4:8 (1 Cement : 4 fine sand : 8 graded stone aggregate 40 mm nominal size) (4.1.8) | BI01010001010000000000000515BI0100001118 | 3 | cum | 5789.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6 | Spreading of sludge, dump manure and/or good earth in required thickness as per direction of officer-in-charge (cost of sludge, dump manure and/ or good earth to be paid separately) (2.8) | BI01010001010000000000000515BI0100001118 | 482 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.1 | (b) Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work upto plinth level 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) (4.1.3) | BI01010001010000000000000515BI0100001119 | 1 | cum | 6788.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7 | Grassing with selection No. 1/ Doob grass including watering and maintenance of the lawn for 30 days or more till the grass forms a thick lawn, free from weeds and fit for mowing including supplying good earth, if needed (the grass and good earth shall be paid for separately). With grass Turf (2.10.2) | BI01010001010000000000000515BI0100001119 | 4819 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in : Cement mortar 1:6 (1 cement : 6 coarse sand)(6.1.2) | BI01010001010000000000000515BI0100001120 | 3 | cum | 6157.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8 | Providing and Displaying Chrysanthemum single variety in different colour well developed having 45 to 60 cm ht., minimum 100 and above half bloom flowers open well stacked with bamboo stick having three layer tiding by thread fresh and healthy foliage in 25 cm Earthen Pot and as per direction of the officer-in-charge. (4.13) | BI01010001010000000000000515BI0100001120 | 100 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centering, shuttering, finishing and reinforcement - All work upto plinth level 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) (5.1.2) | BI01010001010000000000000515BI0100001121 | 5 | cum | 7718.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9 | Providing and Displaying Dahlia double kenya variety in different colour well developed with 3 to 4 flowers in half bloom, good foliage stacked withGreen painted Bamboo sticks, 45 to 60 cm height in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.24) | BI01010001010000000000000515BI0100001121 | 100 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). (5.3) | BI01010001010000000000000515BI0100001122 | 8 | cum | 9763.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10 | Providing and Displaying Marigold jaffri dwarf in different colour well developed with fresh & healthy foliage with 12 to 15 flowers in full bloom specimen plant 23 to 30 cm ht. in 20 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.36) | BI01010001010000000000000515BI0100001122 | 100 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. (5.22A.6) | BI01010001010000000000000515BI0100001123 | 1123 | kg | 83.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11 | Providing and Displaying Petunia hybrid different variety in different colour well developed with fresh and healthy foliage in full bloom in 25 cm Earthen Pot/Plastic Pot as per direction of the officer-in-charge. (4.50) | BI01010001010000000000000515BI0100001123 | 100 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | (a)Centering and shuttering including strutting, propping etc. and removal of form for: Lintels, beams, plinth beams, girders, bressumers and cantilevers. (5.9.5) | BI01010001010000000000000515BI0100001124 | 14 | sqm | 552.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12 | Providing and Displaying Salvia dwarf variety with fresh & healthy foliage well developed multi branching in blooming stage in 15 cm Earthen Pot/ Plastic Pot and as per direction of the officer-in-charge. (4.60) | BI01010001010000000000000515BI0100001124 | 75 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.1 | (b) Centering and shuttering including strutting, propping etc. and removal of form for: Suspended floors, roofs, landings, balconies and access platform (5.9.3) | BI01010001010000000000000515BI0100001125 | 28 | sqm | 693.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13 | Providing and Displaying Salvia ht. 45 to 60 cm multi branches stackingwith bamboo stick specimen type with full bloom well developed in 30 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.61) | BI01010001010000000000000515BI0100001125 | 75 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 75 in superstructure above plinth level upto floor V level in all shapes and sizes in: Cement mortar 1:6 ( 1 cement : 6 coarse sand) (6.4.2) | BI01010001010000000000000515BI0100001126 | 15 | cum | 7590.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14 | Providing and Displaying Gazania hybrid in different colour well developedwith fresh & healthy foliage with full bloom in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.31) | BI01010001010000000000000515BI0100001126 | 100 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Providing and laying 75 mm thick compacted bed of dry brick aggregate of 40 mm thick nominal size including spreading, well ramming, consolidating and grouting with jamuna sand, including finishing smooth etc. complete as per direction of Engineer-in-charge. (16.64) | BI01010001010000000000000515BI0100001127 | 13 | sqm | 176.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15 | Providing and Displaying Kochia well developed fresh & healthy 30 to 45cm ht. lush green well shaped in 25 cm Earthen Pot/Plastic Pot and as perdirection of the officer-in-charge. (4.78) | BI01010001010000000000000515BI0100001127 | 100 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 75 in superstructure above plinth level up to floor V level : Cement mortar 1:4 (1 Cement : 4 coarse sand) (6.13.2) | BI01010001010000000000000515BI0100001128 | 7 | sqm | 932.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16 | Providing and Displaying Zinnia hybrid double in different colour well developed fresh & healthy 30 to 45 cm ht. (3 to 4 in each pot) full bloom in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.86) | BI01010001010000000000000515BI0100001128 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/sqm).(22.3) | BI01010001010000000000000515BI0100001129 | 10 | sqm | 705.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 17 | Providing and Displaying Gaillardia double hybrid variety well developed 30 to 45 cm ht 20 to 30 fresh & healthy flower with green painted bamboo stick in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.75) | BI01010001010000000000000515BI0100001129 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) (13.4.2) | BI01010001010000000000000515BI0100001130 | 68 | sqm | 263.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18 | Providing and Displaying Portulaca hybrid in different colour with bloom well developed fresh & healthy in 20 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.79) | BI01010001010000000000000515BI0100001130 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | 15 mm cement plaster on rough side of single or half brick wall of mix : 1:6 (1 cement: 6 coarse sand) (13.5.2) | BI01010001010000000000000515BI0100001131 | 74 | sqm | 303.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 19 | Providing and displaying of Areca Palm having ht. 1.80 m to 2.10 m with 8 to 10 suckers, well developed, fresh and healthy with lush green foliage in 30 cm size of Earthen pot/Plastic pot & as per direction of the officer-in-charge. (3.21) | BI01010001010000000000000515BI0100001131 | 75 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | Providing and fixing soil, waste and vent pipes : 100 mm dia. Centrifugally cast (spun) iron socket & spigot (S &S) pipe as per IS :3989 (17.35.1.2) | BI01010001010000000000000515BI0100001132 | 10 | metre | 1092.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 20 | Providing and displaying of Croton golden (Broad Leaves) having ht. 60 cm to 75 cm with 3 to 4 branches, well developed, fresh and healthy leaves in 25 cm size of Earthen pot/Plastic pot. & as per direction of the officer-in-charge. (3.32) | BI01010001010000000000000515BI0100001132 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
19 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter: 100 mm (17.58.1) | BI01010001010000000000000515BI0100001133 | 8 | Nos. | 481.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 21 | Providing and displaying of Dracaena song of India specimen (three in one), having ht. 60 cm & above, well developed, fresh and healthy with good foliage in 25 cm size of Earthen pot/Plastic pot & as per direction of the officer-in-charge. (3.45) | BI01010001010000000000000515BI0100001133 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
20 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100 mm Sand cast iron S&S as per IS:- 3989 (17.38.1.2) | BI01010001010000000000000515BI0100001134 | 3 | Nos. | 461.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 22 | Providing and displaying of Syngonium golden mounted on moss stick 90 cm ht., 3 to 4 s placed in each pot at equal distance, well developed with full of fresh & healthy leaves from bottom to top in 25 cm size of Earthen pot/Plastic pot & as per direction of the officer-in-charge. (3.91) | BI01010001010000000000000515BI0100001134 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21 | Providing and fixing plain bend of required degree. 100 mm Sand cast iron S&S as per IS: - 3989 (17.39.1.2) | BI01010001010000000000000515BI0100001135 | 3 | Nos. | 390.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 23 | Providing and Displaying Adenium Obesum grafted well developed with fresh & healthy 30 to 60 cm ht. in 25 cm size Earthen Pot/ Plastic Pot as per direction of the officer-in-charge. (5.5) | BI01010001010000000000000515BI0100001135 | 75 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
22 | Providing and fixing single equal plain junction of required degree. 100x100x100mm Sand cast iron S&S as per IS: - 3989 (17.44.1.2) | BI01010001010000000000000515BI0100001136 | 3 | Nos. | 667.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 24 | Providing and stacking of Bottle palm of ht. 210-240 cm bottom girth 30-35 cm well developed in big HDPE bags. (7.11) | BI01010001010000000000000515BI0100001136 | 75 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
23 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS: - 3989 (17.60.1.1) | BI01010001010000000000000515BI0100001137 | 3 | Nos. | 1512.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 25 | Providing and Displaying Golden Bottle brush Topiary well developed with fresh & healthy foliage 5 to 6 big ball 115 to 180 cm ht in 40 cm Cement Pot as per direction of the officer-in-charge. (5.33) | BI01010001010000000000000515BI0100001137 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
24 | Providing and fixing 100mm sand cast Iron grating for gully trap.(17.29) | BI01010001010000000000000515BI0100001138 | 3 | Nos. | 44.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
25 | Providing and fixing water closet squatting pan ( Indian type W.C. pan ) with 100mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required.: White Vitreous china Orissa pattern W.C. pan.of size 580x440mm with integral type foot rests. (17.1.1) | BI01010001010000000000000515BI0100001139 | 1 | Nos. | 5421.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
26 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid (17.2.1) | BI01010001010000000000000515BI0100001140 | 1 | Nos. | 5260.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require : White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap (17.7.2) | BI01010001010000000000000515BI0100001141 | 2 | Nos. | 2751.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
28 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Semi rigid pipe 32 mm dia (17.28.1.1) | BI01010001010000000000000515BI0100001142 | 4 | Nos. | 87.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
29 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. (17.31) | BI01010001010000000000000515BI0100001143 | 2 | Nos. | 1283.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
30 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1cement : 3 coarse sand ) finished with a floating coat of neat cement and making necessary channels for the drain etc. complete. For pipes 100 to 250 mm diameter (19.21.1) | BI01010001010000000000000515BI0100001144 | 2 | Nos | 623.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
31 | (a)Providing and fixing G.I. pipes complete with G.I. fittings and clamps,including cutting and making good the walls etc. Internal work - exposed on wall 15mm dia. nominal bore (18.10.1) | BI01010001010000000000000515BI0100001145 | 14 | Mtr. | 284.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
31.1 | (b) Providing and fixing G.I. pipes complete with G.I. fittings and clamps,including cutting and making good the walls etc. Internal work - exposed on wall 25mm dia. nominal bore (18.10.3) | BI01010001010000000000000515BI0100001146 | 5 | Mtr. | 438 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
32 | a) Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 15 mm nominal bore (18.49.1) | BI01010001010000000000000515BI0100001147 | 6 | Nos. | 418.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
33 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931 15 mm nominal bore (18.52.1) | BI01010001010000000000000515BI0100001148 | 5 | Nos. | 606.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
34 | Making connection of G.I. distribution branch with G.I.main of following sizes by providing and fixing tee,including cutting and threading the pipe etc. complete. 25 to 40 mm nominal bore (18.13.1) | BI01010001010000000000000515BI0100001149 | 1 | Nos. | 673.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
35 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work. 25 mm diameter pipe. (18.38.3) | BI01010001010000000000000515BI0100001150 | 3 | metre | 23.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
36 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. (8.31) | BI01010001010000000000000515BI0100001151 | 18 | sqm | 1030.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
37 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. (11.37) | BI01010001010000000000000515BI0100001152 | 15 | sqm | 926.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
38 | Providing and applying white cement based putty of average thickness 1mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) | BI01010001010000000000000515BI0100001153 | 73 | sqm | 115.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
39 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade New work (two or more coats) over and including water thinnable priming coat with cement primer (13.41.1) | BI01010001010000000000000515BI0100001154 | 73 | sqm | 153.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
40 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) (13.46.1) | BI01010001010000000000000515BI0100001155 | 74 | sqm | 164.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
41 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20cm in depth including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed , within a lead of 50m All kinds of soil Pipes, cables etc. exceeding 80mm dia. but not exceeding 300 mm dia. (2.10.1.2) | BI01010001010000000000000515BI0100001156 | 2 | metre | 364.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
42 | Providing, laying and jointing glazed stoneware Class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. Complete 150 mm diameter (19.1.2) | BI01010001010000000000000515BI0100001157 | 2 | metre | 500.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
43 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) up to haunches of S.W. pipes including bed concrete as per standard design : 150 mm diameter S.W. pipe (19.3.2) | BI01010001010000000000000515BI0100001158 | 5 | Mtr | 479.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
44 | Constructing brick masonry chamber for underground C.I. inspection chamber and bends with 75 class designation bricks in cement mortar 1:4 (1 cement : 4 coarse sand) C.I. cover with frame (light duty) 455 x 610mm internal dimensions, total weight of cover with frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) R.C.C. top slab with 1:2:4 mix (1 cement :2 coarse sand : 4 graded stone aggregate 20 mm nominal size) foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished smooth with a floating coat of neat cement on walls and bed concrete etc. complete as per standard design: Inside dimensions 455x610 mm and 45 cm deep for single pipe line- With F.P.S. bricks (19.30.1.1) | BI01010001010000000000000515BI0100001159 | 2 | Nos | 6061.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
45 | Constructing masonry Chamber 60x60x75 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size ) , i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 (18.33.1) | BI01010001010000000000000515BI0100001160 | 1 | Nos | 6849.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
46 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : Single half stall urinal with 5 litre P.V.C. automatic flushing cistern (17.5.1) | BI01010001010000000000000515BI0100001161 | 1 | Nos | 9360.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
47 | Providing and fixing ISI marked flush door shutters conforming to IS 2202 (part1) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws (9.20.2) | BI01010001010000000000000515BI0100001162 | 5 | sqm | 2756.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
48 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm (9.96.2) | BI01010001010000000000000515BI0100001163 | 3 | Nos | 231.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
49 | (a) Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm (9.97.2) | BI01010001010000000000000515BI0100001164 | 3 | Nos | 103.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
49.1 | (b) Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150x10 mm (9.97.4) | BI01010001010000000000000515BI0100001165 | 3 | Nos | 75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
50 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm (9.100.1) | BI01010001010000000000000515BI0100001166 | 2 | Nos | 59.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
51 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS : 1285, fixing with dash fastners of required dia & size, including necessary filling up the gaps at junctions, i.e. top, bottom and sides with required EPDM rubber /neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling,C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing and panelling to be paid for separately.) For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15). (21.1.1.1) | BI01010001010000000000000515BI0100001167 | 10 | kg | 423.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
52 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works (10.25.2) | BI01010001010000000000000515BI0100001168 | 95 | kg | 131 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
53 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete(5.9.1) | BI01010001010000000000000515BI0100001169 | 19 | Sqm | 284.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
54 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform (5.9.3) | BI01010001010000000000000515BI0100001170 | 18 | Sqm | 693.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
55 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : cement mortar 1:4 (1 cement : 4 coarse sand) (6.12.2) | BI01010001010000000000000515BI0100001171 | 2 | sqm | 773.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
56 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth: consolidating each deposited layer by ramming and watering , lead up to 50m and lift up to 1.5m.(2.25) | BI01010001010000000000000515BI0100001172 | 3 | cum | 219.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
57 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) (13.4.2) | BI01010001010000000000000515BI0100001173 | 20 | sqm | 263.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
58 | Making plinth protection 50 mm thick of cement concrete 1:3:6 (1 cement: 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including finishing the top smooth. (4.17) | BI01010001010000000000000515BI0100001174 | 9 | Sqm | 614.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
59 | 62 mm thick cement concrete flooring with concrete hardener topping, under layer 50 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) and top layer 12mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate, 6mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacture’s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. (11.5) | BI01010001010000000000000515BI0100001175 | 4 | Sqm | 854.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
60 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | BI01010001010000000000000515BI0100001176 | 16 | Trip | 138.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information