## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superinteding Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: BOQ for Supplying and Laying power cable to feed the power supply from new CSS to hostel fidar pilar & Rajputana ground of IIT(BHU)
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Supply and laying of 3.5CX185 Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, direct in Existing trunch. as required as per site. fron New CSS to Near security booth Make- Gloster,Polycab KEI, | BI01010001010000000000000515BI0100001113 | 720 | Mtr | 1343 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 966960 | 966960 | INR Nine Lakh Sixty Six Thousand Nine Hundred & Sixty Only | 1 | Supply and laying of 3.5CX185 Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, direct in Existing trunch. as required as per site. fron New CSS to Near security booth Make- Gloster,Polycab KEI, | BI01010001010000000000000515BI0100001113 | 720 | Mtr | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Supply and laying of 3.5CX185 Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, direct in ground including excavation , sand cushioning , protective covering and refilling the trench etc. as required as per site. from security booth to Rajputtana ground Make- Gloster,Polycab KEI, | BI01010001010000000000000515BI0100001115 | 130 | Mtr | 1643 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 213590 | 213590 | INR Two Lakh Thirteen Thousand Five Hundred & Ninety Only | 2 | Supply and laying of 3.5CX185 Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, direct in ground including excavation , sand cushioning , protective covering and refilling the trench etc. as required as per site. from security booth to Rajputtana ground Make- Gloster,Polycab KEI, | BI01010001010000000000000515BI0100001115 | 130 | Mtr | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 185 sq. mm (50 mm) | BI01010001010000000000000515BI0100001116 | 8 | Nos. | 702 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5616 | 5616 | INR Five Thousand Six Hundred & Sixteen Only | 3 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 185 sq. mm (50 mm) | BI01010001010000000000000515BI0100001116 | 8 | Nos. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc. as required 150 mm dia | BI01010001010000000000000515BI0100001117 | 15 | Mtr | 1183 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17745 | 17745 | INR Seventeen Thousand Seven Hundred & Forty Five Only | 4 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc. as required 150 mm dia | BI01010001010000000000000515BI0100001117 | 15 | Mtr | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Supplying , installation testing and commissioning of 100 Amp. TPN ton existing rising main complete wit TPN disconnector FSU and HRC fuse , connection , eartihing etc. as require | BI01010001010000000000000515BI0100001118 | 1 | Nos. | 7050 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7050 | 7050 | INR Seven Thousand &Fifty Only | 5 | Supplying , installation testing and commissioning of 100 Amp. TPN ton existing rising main complete wit TPN disconnector FSU and HRC fuse , connection , eartihing etc. as require | BI01010001010000000000000515BI0100001118 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 1210961 | 1210961 | INR Twelve Lakh Ten Thousand Nine Hundred & Sixty One Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information