## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superinteding Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: Estimate for Electrical installation,illuminations and wiring at room No.CR-113 , CR-114 , CR107 in Deparment of Ceramic Engineering. and Partition work to be done for lab. (Dr.Deepak Kumar) in Metallurgical engg. IIT(BHU)
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Room No.CR-113 & CR-114 in Deparment of Ceramic Engineering. Wiring for light point/ fan point/ exhaust fan point/ call bell pointwith 1.5 sq.mm FRLS PVC insulated copper conductor singlecore cable in surface / recessed medium class PVC conduit,with modular switch, modular plate, suitable GI box and earthingthe point with 1.5 sq.mm FRLS PVC insulated copper conductorsingle core cable etc. as required. Group C | BI01010001010000000000000515BI0100001115 | 20 | Points | 990 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19800 | 19800 | INR Nineteen Thousand Eight Hundred Only | 1 | Room No.CR-113 & CR-114 in Deparment of Ceramic Engineering. Wiring for light point/ fan point/ exhaust fan point/ call bell pointwith 1.5 sq.mm FRLS PVC insulated copper conductor singlecore cable in surface / recessed medium class PVC conduit,with modular switch, modular plate, suitable GI box and earthingthe point with 1.5 sq.mm FRLS PVC insulated copper conductorsingle core cable etc. as required. Group C | BI01010001010000000000000515BI0100001115 | 20 | Points | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 80 | Mtrs | 167 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13360 | 13360 | INR Thirteen Thousand Three Hundred & Sixty Only | 2.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 80 | Mtrs | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001118 | 120 | Mtrs | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24000 | 24000 | INR Twenty Four Thousand Only | 2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001118 | 120 | Mtrs | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.3 | 2 X6sq. mm + 1 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001119 | 30 | Mtrs | 249 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7470 | 7470 | INR Seven Thousand Four Hundred & Seventy Only | 2.3 | 2 X6sq. mm + 1 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001119 | 30 | Mtrs | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.4 | 4 X 10sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001120 | 5 | Mtrs | 543 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2715 | 2715 | INR Two Thousand Seven Hundred & Fifteen Only | 2.4 | 4 X 10sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001120 | 5 | Mtrs | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required | BI01010001010000000000000515BI0100001121 | 25 | Nos | 401 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10025 | 10025 | INR Ten Thousand &Twenty Five Only | 3 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required | BI01010001010000000000000515BI0100001121 | 25 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Supplying and fixing suitable size GI box with modular plateand cover in front on surface or in recess, including providingand fixing 6 pin 5/6 A & 15/16 A modular socket outlet and15/16 A modular switch, connections etc. as required.Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001122 | 16 | Nos | 495 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7920 | 7920 | INR Seven Thousand Nine Hundred & Twenty Only | 4 | Supplying and fixing suitable size GI box with modular plateand cover in front on surface or in recess, including providingand fixing 6 pin 5/6 A & 15/16 A modular socket outlet and15/16 A modular switch, connections etc. as required.Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001122 | 16 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way (4 + 24), Double door | BI01010001010000000000000515BI0100001123 | 1 | Nos | 4601 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4601 | 4601 | INR Four Thousand Six Hundred & One Only | 5 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way (4 + 24), Double door | BI01010001010000000000000515BI0100001123 | 1 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | FP MCB 40/63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001124 | 1 | Nos | 2389 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2389 | 2389 | INR Two Thousand Three Hundred & Eighty Nine Only | 6 | FP MCB 40/63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001124 | 1 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001125 | 2 | Nos | 639 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1278 | 1278 | INR One Thousand Two Hundred & Seventy Eight Only | 7 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001125 | 2 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001126 | 15 | Nos | 199 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2985 | 2985 | INR Two Thousand Nine Hundred & Eighty Five Only | 8 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001126 | 15 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | Double pole Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001127 | 1 | Nos | 556 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 556 | 556 | INR Five Hundred & Fifty Six Only | 9 | Double pole Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001127 | 1 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10 | 2 Way Encloser Metal Box for FP MCBMake-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001128 | 1 | Nos | 608 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 608 | 608 | INR Six Hundred & Eight Only | 10 | 2 Way Encloser Metal Box for FP MCBMake-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001128 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
11 | Supplying ,fixing Connecting & Testing ,20W LED batten Make-Philipse/Syska/Wipro/CG | BI01010001010000000000000515BI0100001129 | 5 | Nos | 415 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2075 | 2075 | INR Two Thousand &Seventy Five Only | 11 | Supplying ,fixing Connecting & Testing ,20W LED batten Make-Philipse/Syska/Wipro/CG | BI01010001010000000000000515BI0100001129 | 5 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
12 | Supplying and fixing of 230VAC 1Ph.300 mm ,900 rpm Wall Fan Make-ORIENT/CG/USHA/Bajaj | BI01010001010000000000000515BI0100001130 | 1 | Nos | 3081 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3081 | 3081 | INR Three Thousand &Eighty One Only | 12 | Supplying and fixing of 230VAC 1Ph.300 mm ,900 rpm Wall Fan Make-ORIENT/CG/USHA/Bajaj | BI01010001010000000000000515BI0100001130 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
13 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator | BI01010001010000000000000515BI0100001131 | 3 | Nos | 342 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1026 | 1026 | INR One Thousand &Twenty Six Only | 13 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator | BI01010001010000000000000515BI0100001131 | 3 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
14 | Supply & Installation of 2X2 pure LED false ceiling Surface Light Make-Phillipse/Wipro/CG/Polycab | BI01010001010000000000000515BI0100001132 | 11 | Nos | 4189 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46079 | 46079 | INR Forty Six Thousand &Seventy Nine Only | 14 | Supply & Installation of 2X2 pure LED false ceiling Surface Light Make-Phillipse/Wipro/CG/Polycab | BI01010001010000000000000515BI0100001132 | 11 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15 | Partition work to be done for lab. (Dr.Deepak Kumar) Wiring for light point/ fan point/ exhaust fan point/ call bell pointwith 1.5 sq.mm FRLS PVC insulated copper conductor singlecore cable in surface / recessed medium class PVC conduit,with modular switch, modular plate, suitable GI box and earthingthe point with 1.5 sq.mm FRLS PVC insulated copper conductorsingle core cable etc. as required. Group C | BI01010001010000000000000515BI0100001135 | 10 | Points | 990 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9900 | 9900 | INR Nine Thousand Nine Hundred Only | 15 | Partition work to be done for lab. (Dr.Deepak Kumar) Wiring for light point/ fan point/ exhaust fan point/ call bell pointwith 1.5 sq.mm FRLS PVC insulated copper conductor singlecore cable in surface / recessed medium class PVC conduit,with modular switch, modular plate, suitable GI box and earthingthe point with 1.5 sq.mm FRLS PVC insulated copper conductorsingle core cable etc. as required. Group C | BI01010001010000000000000515BI0100001135 | 10 | Points | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001137 | 25 | Mtrs | 167 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4175 | 4175 | INR Four Thousand One Hundred & Seventy Five Only | 16.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001137 | 25 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001138 | 25 | Mtrs | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5000 | 5000 | INR Five Thousand Only | 16.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001138 | 25 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required | BI01010001010000000000000515BI0100001139 | 6 | Nos | 401 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2406 | 2406 | INR Two Thousand Four Hundred & Six Only | 17 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required | BI01010001010000000000000515BI0100001139 | 6 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | Supplying and fixing suitable size GI box with modular plateand cover in front on surface or in recess, including providingand fixing 6 pin 5/6 A & 15/16 A modular socket outlet and15/16 A modular switch, connections etc. as required.Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001140 | 4 | Nos | 495 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1980 | 1980 | INR One Thousand Nine Hundred & Eighty Only | 18 | Supplying and fixing suitable size GI box with modular plateand cover in front on surface or in recess, including providingand fixing 6 pin 5/6 A & 15/16 A modular socket outlet and15/16 A modular switch, connections etc. as required.Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001140 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
19 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way , Double door | BI01010001010000000000000515BI0100001141 | 2 | Nos | 1760 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3520 | 3520 | INR Three Thousand Five Hundred & Twenty Only | 19 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way , Double door | BI01010001010000000000000515BI0100001141 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
20 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001142 | 1 | Nos | 639 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 639 | 639 | INR Six Hundred & Thirty Nine Only | 20 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001142 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001143 | 4 | Nos | 199 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 796 | 796 | INR Seven Hundred & Ninety Six Only | 21 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001143 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
22 | Supplying and fixing 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider. | BI01010001010000000000000515BI0100001144 | 1 | Nos | 556 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 556 | 556 | INR Five Hundred & Fifty Six Only | 22 | Supplying and fixing 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider. | BI01010001010000000000000515BI0100001144 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
23 | Supplying ,fixing Connecting & Testing ,20W LED batten Make-Philipse/Syska/Wipro/CG | BI01010001010000000000000515BI0100001145 | 2 | Nos | 415 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 830 | 830 | INR Eight Hundred & Thirty Only | 23 | Supplying ,fixing Connecting & Testing ,20W LED batten Make-Philipse/Syska/Wipro/CG | BI01010001010000000000000515BI0100001145 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
24 | Supplying and fixing of 230VAC 1Ph.400 mm ,900 rpm Wall Fan Make-ORIENT/CG/USHA/Bajaj | BI01010001010000000000000515BI0100001146 | 3 | Nos | 3081 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9243 | 9243 | INR Nine Thousand Two Hundred & Forty Three Only | 24 | Supplying and fixing of 230VAC 1Ph.400 mm ,900 rpm Wall Fan Make-ORIENT/CG/USHA/Bajaj | BI01010001010000000000000515BI0100001146 | 3 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
25 | Supplying,Cutting of huck , painting and fixing of MS Down down conduit for installation of ceiling fan upto 5 to 8 feet | BI01010001010000000000000515BI0100001147 | 1 | Nos | 550 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 550 | 550 | INR Five Hundred & Fifty Only | 25 | Supplying,Cutting of huck , painting and fixing of MS Down down conduit for installation of ceiling fan upto 5 to 8 feet | BI01010001010000000000000515BI0100001147 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
26 | Supply & Installation of 2X2 pure LED false ceiling Surface Light Make-Phillipse/Wipro/CG/Polycab | BI01010001010000000000000515BI0100001148 | 6 | Nos | 4189 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25134 | 25134 | INR Twenty Five Thousand One Hundred & Thirty Four Only | 26 | Supply & Installation of 2X2 pure LED false ceiling Surface Light Make-Phillipse/Wipro/CG/Polycab | BI01010001010000000000000515BI0100001148 | 6 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27 | Room No.CR-107in Deparment of Ceramic Engineering. Wiring for light point/ fan point/ exhaust fan point/ call bell pointwith 1.5 sq.mm FRLS PVC insulated copper conductor singlecore cable in surface / recessed medium class PVC conduit,with modular switch, modular plate, suitable GI box and earthingthe point with 1.5 sq.mm FRLS PVC insulated copper conductorsingle core cable etc. as required. Group C | BI01010001010000000000000515BI0100001151 | 4 | Points | 990 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3960 | 3960 | INR Three Thousand Nine Hundred & Sixty Only | 27 | Room No.CR-107in Deparment of Ceramic Engineering. Wiring for light point/ fan point/ exhaust fan point/ call bell pointwith 1.5 sq.mm FRLS PVC insulated copper conductor singlecore cable in surface / recessed medium class PVC conduit,with modular switch, modular plate, suitable GI box and earthingthe point with 1.5 sq.mm FRLS PVC insulated copper conductorsingle core cable etc. as required. Group C | BI01010001010000000000000515BI0100001151 | 4 | Points | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
28.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001153 | 20 | Mtrs | 167 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3340 | 3340 | INR Three Thousand Three Hundred & Forty Only | 28.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001153 | 20 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
28.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001154 | 10 | Mtrs | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2000 | 2000 | INR Two Thousand Only | 28.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001154 | 10 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
28.3 | 2 X 6 sq. mm + 1 X 6sq. mm earth wire | BI01010001010000000000000515BI0100001155 | 25 | Mtrs | 249 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6225 | 6225 | INR Six Thousand Two Hundred & Twenty Five Only | 28.3 | 2 X 6 sq. mm + 1 X 6sq. mm earth wire | BI01010001010000000000000515BI0100001155 | 25 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
29 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required | BI01010001010000000000000515BI0100001156 | 4 | Nos | 401 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1604 | 1604 | INR One Thousand Six Hundred & Four Only | 29 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required | BI01010001010000000000000515BI0100001156 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
30 | Supplying and fixing suitable size GI box with modular plateand cover in front on surface or in recess, including providingand fixing 6 pin 5/6 A & 15/16 A modular socket outlet and15/16 A modular switch, connections etc. as required.Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001157 | 2 | Nos | 495 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 990 | 990 | INR Nine Hundred & Ninety Only | 30 | Supplying and fixing suitable size GI box with modular plateand cover in front on surface or in recess, including providingand fixing 6 pin 5/6 A & 15/16 A modular socket outlet and15/16 A modular switch, connections etc. as required.Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001157 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
31 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way , Double door | BI01010001010000000000000515BI0100001158 | 2 | Nos | 1760 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3520 | 3520 | INR Three Thousand Five Hundred & Twenty Only | 31 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way , Double door | BI01010001010000000000000515BI0100001158 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
32 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001159 | 1 | Nos | 639 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 639 | 639 | INR Six Hundred & Thirty Nine Only | 32 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001159 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
33 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001160 | 6 | Nos | 199 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1194 | 1194 | INR One Thousand One Hundred & Ninety Four Only | 33 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001160 | 6 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
34 | Supplying and fixing 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider. | BI01010001010000000000000515BI0100001161 | 1 | Nos | 556 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 556 | 556 | INR Five Hundred & Fifty Six Only | 34 | Supplying and fixing 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider. | BI01010001010000000000000515BI0100001161 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
35 | Supplying ,fixing Connecting & Testing ,20W LED batten Make-Philipse/Syska/Wipro/CG | BI01010001010000000000000515BI0100001162 | 2 | Nos | 415 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 830 | 830 | INR Eight Hundred & Thirty Only | 35 | Supplying ,fixing Connecting & Testing ,20W LED batten Make-Philipse/Syska/Wipro/CG | BI01010001010000000000000515BI0100001162 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
36 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator | BI01010001010000000000000515BI0100001163 | 1 | Nos | 288 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 288 | 288 | INR Two Hundred & Eighty Eight Only | 36 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator | BI01010001010000000000000515BI0100001163 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | 239843 | 239843 | INR Two Lakh Thirty Nine Thousand Eight Hundred & Forty Three Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information