## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver4.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL | Select | Excess (+) | Less (-) | Excess (+) | Less (-)
Tender Inviting Authority: The Superintending Engineer, Institute Work Department, IIT(BHU), Varanasi.
Name of Work: Estimate for Internal Electrical installation, wiring, illumination, power point, light & fan point and earthing works in the different departments and offices IIT(BHU), Varanasi.
Contract No: IIT(BHU)/IWD/ET…../2025-26/………, Dated: …../…../2025
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P. | TOTAL AMOUNT With Taxes in Rs. P. | TOTAL AMOUNT in Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (Make: Polycab/ Finolex/ L&T) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Group C |  | 95 | Points | 1886 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 179170 | 179170 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. (Make: Polycab/ Finolex/ L&T) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire |  | 450 | Mtrs | 285 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 128250 | 128250 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire |  | 400 | Mtrs | 346 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 138400 | 138400 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.03 | 2 X6sq. mm + 1 X 6 sq. mm earth wire |  | 150 | Mtrs | 454 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 68100 | 68100 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.04 | 4X4sq. mm + 2X 4 sq. mm earth wire |  | 100 | Mtrs | 590 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 59000 | 59000 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.05 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire |  | 100 | Mtrs | 780 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 78000 | 78000 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.06 | 4 X 10sq. mm + 2 X 6 sq. mm earth wire |  | 100 | Mtrs | 1040 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 104000 | 104000 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required Make- L& T/ABB/LEGRAND /INDOASEAN |  | 250 | Nos | 493 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 123250 | 123250 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. Make- L& T/ABB/LEGRAND /INDOASEAN |  | 300 | Nos | 606 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 181800 | 181800 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make- L & T/ABB/LEGRAND /INDOASEAN |  | 60 | Nos | 752 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 45120 | 45120 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) Make- L& T/ABB/LEGRAND /INDOASEAN | [53 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.01 | 6 way, Double door |  | 5 | Nos | 2282 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11410 | 11410 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.02 | 8 way , Double door |  | 5 | Nos | 2662 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13310 | 13310 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.03 | 12way , Double door |  | 5 | Nos | 2395 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11975 | 11975 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) Make- L& T/ABB/LEGRAND /INDOASEAN | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7.01 | 4 way (4 + 12), Double door |  | 2 | Nos | 4233 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8466 | 8466 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.02 | 6 way (4 + 18), Double door |  | 5 | Nos | 5146 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25730 | 25730 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.03 | 8 way (4 + 24), Double door |  | 5 | Nos | 6173 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30865 | 30865 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 125 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCCBs and incomer ) as required . (Note : Vertical type MCCB TPDB is normally used where 3 phase outlets are required.) Make- L & T/ABB/LEGRAND /INDOASEAN | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.01 | 4 way (4 + 24), Double door Make- L& T/ABB/LEGRAND /INDOASEAN |  | 2 | Nos | 7772 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15544 | 15544 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.02 | 8 way (4 + 24), Double door Make- L& T/ABB/LEGRAND /INDOASEAN |  | 2 | Nos | 10517 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21034 | 21034 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.03 | 12 way (4 + 36), Double door Make- L& T/ABB/LEGRAND /INDOASEAN |  | 2 | Nos | 13277 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26554 | 26554 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
9.01 | 100 A, 30 kA,FP MCCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 2 | Nos | 7990 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15980 | 15980 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.02 | 125 A, 36 kA,FP MCCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 2 | Nos | 8493 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16986 | 16986 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.03 | 200 A, 36 kA,FP MCCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 2 | Nos | 15732 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31464 | 31464 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.04 | 250 A, 36 kA,FP MCCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 2 | Nos | 18116 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36232 | 36232 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Providing and fixing following capacity TP&N disconnector fuse switch unit inside the existing panel board with ISI marked HRC fuses including drilling holes in cubicle panel, making connections, etc. as required. (Make- L & T/ABB/LEGRAND /INDOASEAN) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10.01 | 100 A TP&N Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 1 | Nos | 6294 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6294 | 6294 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.02 | 200 A TP&N Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 1 | Nos | 10024 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10024 | 10024 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.03 | 400 A TP&N Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 1 | Nos | 18428 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18428 | 18428 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11 | Supplying, installing, testing and commissioning of following capacity TPN tap off box made of 1.6mm thick sheet steel enclosure duly painted with powder coating on existing rising mains complete with TPN disconnector FSU and HRC fuses, connections, earthing etc. as required. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
11.01 | 63 A TP&N Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 1 | Nos | 11940 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11940 | 11940 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
11.02 | 100 A TP&N Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 1 | Nos | 14697 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14697 | 14697 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.03 | 200 A TP&N Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 1 | Nos | 19533 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19533 | 19533 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.04 | 315 A TP&N Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 1 | Nos | 26549 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26549 | 26549 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11.05 | 400 A TP&N Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 1 | Nos | 30216 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30216 | 30216 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
12 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make L&T/ABB/C&S/Legrand/Hagger/Schneider | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
12.01 | Single Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 100 | Nos | 265 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26500 | 26500 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
12.02 | Double Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 35 | Nos | 679 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23765 | 23765 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12.03 | Triple Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 25 | Nos | 1042 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26050 | 26050 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13 | FP MCB 40/63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 30 | Nos | 2389 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 71670 | 71670 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | 4 Way Enclosure Metal Box |  | 15 | Nos | 670 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10050 | 10050 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | 2 Way Enclosure Metal Box |  | 15 | Nos | 570 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8550 | 8550 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16 | Supply & laying of 3.5CX50 Sqmm Aurmoured Aluminium cable XLPE Cable and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface or as per the site requirement . Make: KEI/ Gloster/ Universal./Polycab |  | 60 | Mtr | 710 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 42600 | 42600 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | Supply & laying of 3.5CX70 Sqmm Aurmoured Aluminium cable XLPE Cable and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface or as per the site requirement . Make: KEI/ Gloster/ Universal./Polycab |  | 60 | Mtr | 721 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43260 | 43260 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. |  | 2 | Nos. | 7092 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14184 | 14184 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 meter below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50 mm) |  | 50 | Mtr | 730 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36500 | 36500 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
20 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. |  | 1 | Mtr | 14316 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14316 | 14316 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21 | Supplying and laying 25 mm X 5 mm copper strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of brass nut bolt & spring washer spaced at 50mm) |  | 30 | Mtr | 1006 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30180 | 30180 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | Providing,installation, fixing,Connecting and Testing of LED Batten,4 Feet,20W, as per site requirment. (Make: Wipro/ Philipse/CG/Polycab/ ) |  | 80 | Nos | 415 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33200 | 33200 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
23 | Providing,installation, fixing,Connecting and Testing of LED Batten,4 Feet,36W, as per site requirment. (Make: Wipro/ Philipse/CG/Polycab/ ) |  | 25 | Nos | 665 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16625 | 16625 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | Supplying Installation, testing and commisioning of following Energy Efficieny recess mounted LED Luminarie suitable for 36w,2X2 Grid Ceiling having flat diffuser & constant current electronic driver complete with all accessories & lamps including making hanging arrangement using chain etc. and connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc as reqd. (Make Philips Cat No-(Make Philips Cat No-RC375B LED 365 865/840 PSU W60L60 52 WH/ Equivaent in listed makes.) Make-Phillipse/Wipro/CG/Polycab |  | 40 | Nos | 4189 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 167560 | 167560 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
25 | Providing,Installation,Fixing,Connecting and Testing of IP 66,System efficacy,>110/120 LPW, LED Flood Light,100 W, as per site requirment. (Make: Philipse/ Wipro/Crompton / Polycab ) |  | 10 | Nos | 7243 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 72430 | 72430 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
26 | Providing, Installation, Fixing, Connecting and Testing of IP 66, System efficacy, >110/120 LPW LED street Light, 70 W, as per site requirment. Make:(Philipse/ Wipro/Crompton/Polycab ) |  | 10 | Nos | 6233 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 62330 | 62330 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27 | Supply & Installation of 18 Watt ,System efficacy,>110/120 LPW round surface mounted,LED Panel ceiling Surface Light Make: Phillipse/Wipro/CG/Polycab |  | 10 | Nos | 1584 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15840 | 15840 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
28 | Supplying and fixing of 230VAC 1Ph. 1400mm dia Ceiling Fan (High Speed). (Make: Usha / Crompton / Orient) |  | 15 | Nos | 2450 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36750 | 36750 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
29 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator |  | 30 | Nos | 288 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8640 | 8640 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
30 | Supplying,Cutting of huck , painting and fixing of MS Down down conduit for installation of ceiling fan upto 5 to 8 feet |  | 20 | Nos | 550 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11000 | 11000 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
31 | Supplying and fixing of 230VAC 1Ph. 450 mm exhaust Fan with sweep feature. (Make: Usha / Crompton / Orient) |  | 10 | Nos | 5200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 52000 | 52000 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
32 | Supplying and fixing of 230VAC 1Ph. 300 mm exhaust Fan with sweep feature. Make: Usha / Crompton / Orient |  | 15 | Nos | 3150 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47250 | 47250 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
33 | Supplying and fixing of 230VAC 1Ph.400 mm ,900 rpm Wall Fan Make: Usha / Crompton / Orient |  | 20 | Nos | 3081 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61620 | 61620 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
34 | Supplying .insalling on wall testing & commissioning of following capacity rising mains made Bus Bar of 1.6 thick IP 42 sheet steel encloser duly paited with powder coating bus havibg current rating 200 amp 415Volt 3 phase, 4 wire 50hz AC Supply extension joint fire proff jointed and earthing expansion joint, thrust.pads including with2 runs of G.I Strip |  | 5 | Nos. | 9500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47500 | 47500 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
35 | Supply and installation of 63A HRC Fuse in the existing main switch /feeder pilar (Make: L& T/ABB/LEGRAND /INDOASEAN) |  | 3 | Nos | 434 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1302 | 1302 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
36 | Supply and installation of 100A HRC Fuse in the existing main switch /feeder pilar (Make: L& T/ABB/LEGRAND /INDOASEAN) |  | 3 | Nos | 452 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1356 | 1356 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
37 | Supply and installation of 125A HRC Fuse in the existing main switch /feeder pilar (Make: L& T/ABB/LEGRAND /INDOASEAN) |  | 2 | Nos | 480 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 960 | 960 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
38 | Supply and installation of 160A HRC Fuse in the existing main switch /feeder pilar (Make: L& T/ABB/LEGRAND /INDOASEAN) |  | 2 | Nos | 582 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1164 | 1164 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
39 | Supply and installation of 250A HRC Fuse in the existing main switch /feeder pilar ( Make: L& T/ABB/LEGRAND /INDOASEAN) |  | 2 | Nos | 1125 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2250 | 2250 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
40 | Supply and installation of 400A HRC Fuse in the existing main switch /feeder pilar (Make: L& T/ABB/LEGRAND /INDOASEAN) |  | 2 | Nos | 1201 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2402 | 2402 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | 2498125 | 2498125 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information