## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver4.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL | Select | Excess (+) | Less (-) | Excess (+) | Less (-)
Tender Inviting Authority: The Superintending Engineer, Institute Work Department, IIT(BHU), Varanasi.
Name of Work: Supply, Installation,Testing, Comminsioning & retrofitting of floor mounted metal clad 11 kV VCB, HT Panel in the Dhanrajgiri and IT DSS, and LT ACB in Vivekanand DSS, IIT(BHU), Varanasi.
Contract No: IIT(BHU)/IWD/ET…../2025-26/………, Dated: …../…../2025
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P. | TOTAL AMOUNT With Taxes in Rs. P. | TOTAL AMOUNT in Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1.01 | Supply,Installation,Testing, Comminsioning & retrofitting of floor mounted metal clad 11 kV VCB panel along with Adapter panel (2 Incomer + 2 Adapters) , Circuit Breaker (VCB), totally enclosed & fully interlocked with existing Schneider make VCB Panel, Copper Busbars with Heat Shrinkable Sleeves. Metering Instruments (Voltneter & ammeter ), Single Phase Cast Resin type CT's for 11KV, BIL- 12 kV/28kV/75kV, Insulation Class- B, Single Phase Cast Resin type PT's for 11KV, BIL- 12 kV/28kV/75kV, Class of Insulation E or better, Voltage Factor - 1.2 times continuous & 1.9 times for 8 hours,Numerical Relay with Rear RJ45 Port on IEC 61850 Communication , Auxiliary Relays, Indicating lamps, Switches. VCB Panel Make-Schneider Electric and Other items as per the site requirment & attached technical specification data sheet & must be complied with latest standard of HT electrical system IS Code. |  | 1 | Set | 3799353 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3799353 | 3799353 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Supply, Installation,Testing, Comminsioning & retrofitting of 1000 Amp, 3Pole ,415 Volt, 65kA ACB, Busbars if required, Wiring, Consumables (insulating material, Hardware etc.) in existing ACB with Rating-1000 Amp, Ics & Icu (kA) -65, Ue-500V, Ui-1000V, ACB Make-Schneider Electric and as per the site requirment & attached technical specification data sheet & must be complied with latest standard of HT electrical system IS Code. |  | 1 | Set | 680000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 680000 | 680000 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 4479353 | 4479353 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information